|  | Electrical Equipment Risk Assessment |
| --- | --- |

Background

The Occupational Health and Safety Amendment (Electrical Equipment) Regulation 2006 amends the previous legislative provisions contained in the Occupational Health and Safety Regulation 2001 (the Regulation). The amending regulation specifically identifies working environments where testing and tagging of electrical equipment is required, such as electrical equipment used for construction work (as defined in the Regulation) and electrical equipment used in other ‘hostile operating environments’.

Furthermore, the OHS Regulations also outline requirements for all electrical hazards to be risk assessed and controls identified (including for any electrical equipment identified as not being operated in a hostile environment).

Purpose

The purpose of the CSU Risk Electrical Equipment Risk Assessment is to assist managers to undertake and record a risk assessment on electrical equipment used within their workplace and to assist managers to identify any such electrical items that are classified as being operated and a ‘hostile environment’ and as such require electrical testing and tagging in accordance with AS3760.

Instructions for completing the risk assessment:

- In the table below, fill in the details for each column for any plug-in type electrical equipment used in the workplace.

- Identify any possible hazards associated with the normal use of that equipment and determine a risk score for each hazard using the CSU ‘Risk Score’ (attachment 1).

- Identify the operating environment of your equipment (hostile or non-hostile) using the guidance material provided and therefore any need for electrical testing and tagging in accordance with AS3760.

- For equipment that has been assessed as being used in a ‘hostile operating environment’ inspection and testing in accordance with AS/NZS 3760 MUST be arranged and the test results recorded and maintained.

- List controls (other than testing and tagging) to be used to manage the electrical hazards identified.  Where required, hazard controls should be identified for equipment in both hostile and non-hostile operating environments.

- You should review this risk assessment and inspection record if there is a change in equipment use / location or if an electrical incident occurs.

Additional Information:

- Hostile environment - a hostile operating environment means an operating environment at a place of work where an electrical article is in its normal use subjected to operating conditions that are likely to result in damage to the article, and, for example, includes an operating environment that may:

- Cause mechanical damage to the article, or

- Expose the article to moisture, heat, vibration, corrosive substances or dust that is likely to result in damage to the article.’

- New equipment - In Australia, when the equipment is new, the supplier is deemed responsible for the initial electrical safety of the new equipment. New equipment need not be inspected or tested. The owner or Responsible Person shall regard it as compliant and, if assessed as being operated in a hostile environment, ensure it is appropriately tagged (see next point for advice on what constitutes appropriate tagging).

- Compliant equipment shall be fitted with a durable, non-reusable, non metallic tag or other indicator. Special equipment shall not be required to identify the equipment (note: This shall not preclude tags from also bearing a code to facilitate electronic data collection).  The tag, which may be colour coded to identify the period in which the test was performed, shall include:

- The name of the person or company who performed the tests; and

- The test or inspection date, and may also include a re-test date.

- Records of maintenance, including (but not limited to) inspections and tests, should be kept throughout the working life of the electrical equipment.

- Equipment not operated in a ‘Hostile Environment’ - NSW OHS Regulations requires employers to ensure that any risk of injury from electricity at a place of work is eliminated or, if elimination is not reasonably practicable, the risk is controlled. A risk assessment must therefore still be carried out on electrical equipment not identified as being used on a hostile environment. After the risk assessment, although testing and tagging will not be required, you can still implement a range of control measures to manage the safe operation of this electrical equipment that is used in the workplace.

Electrical Equipment Risk Assessment Form

Date Risk Assessment completed:						Location/Area Risk Assessment:

Complete By (list names of all those present):

1.

2.

3.

4…….

| Equipment Description | Equipment location (provide a brief description of operating environment) | Potential hazards | Risk Score (see attached) Consider Likelihood and Consequence of event occurring from hazards you identified. | Is the environment a “hostile environment” or is the power cord subject to frequent flexing/extending when in normal use? (*see below table for additional information) | List controls other than testing and tagging to be used to manage electrical hazards (e.g. routine visual checks, training on safe use, use of fixed or portable residual current devices (RCDs) more commonly known as safety Switches, etc) Controls must be identified for “Non-hostile environments” (in accordance with Clause 64(1) of the OHS Regulation. |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | List any environmental factors that could cause the environment to be classified as ‘hostile’ or comments about power cord flex/extension. If none, write ‘Nil’ | Testing and tagging required? YES / NO (NB – if any aspects of the environment are ‘hostile’ or the cord is flexed/extended in normal use, equipment requires test and tag) (if YES, arrange testing and tagging in accordance with AS3760 and records results) |  |
| E.g. Kettle | Kitchenette, next to sink and microwave | Electrocution Damaged cord | Moderate risk | Moisture Heat Cord is subject to flexing and extending | Yes | RCDs to be installed |
| E.g. Desk Printer | Desk top of office | Electrocution | Acceptable risk | Nil Cord not extending in normal use. | No | RCDs to be installed Routine visual inspection as part of normal workplace inspections |

* 	What is a Hostile Environment?

Is the electrical equipment, when used in normal operation, exposed to any of the following items that might result in damage to the equipment or reduction in its expected life span:

- Mechanical damage?

- Moisture?

- Heat?

- Vibration?

- Corrosive substances?

- Dust?

If ‘YES’ to any of the above, the environment is considered ‘hostile’ according to AS/NZS 3760 and testing/tagging of the electrical equipment will be required.

Attachment 1

|  | RISK SCORE |
| --- | --- |

|  | 2. What is the likelihood of the risk occurring? |
| --- | --- |
| 1. | What is the severity of the outcome for this type of risk (consequence)? | Very likely Could happen any time | Likely Could happen sometime | Unlikely Could happen, but very rarely | Very unlikely Could happen, but probably never will |
|  | Kill or cause permanent disability | Very High Risk | Very High Risk | High Risk | Substantial Risk |
|  | Long term illness or serious injury | Very High Risk | High Risk | Substantial Risk | Moderate Risk |
|  | Medical attention and several days off work | High Risk | Substantial Risk | Moderate Risk | Acceptable Risk |
|  | First Aid needed | Substantial Risk | Moderate Risk | Acceptable Risk | Low Risk |